## Slide 1: LOLA Measurements vs. Beam Dynamics Simulations
Igor Zagorodnov
11.04.2011
DESY

## Slide 2
Shift on 23.03.2011 (~3 hours afternoon)
Parameter | 
Q | 0.35-0.4 nC
E1 | 150 MeV
Ө1 | 18o
E2 | 445 MeV
Ө2 | 4.58o
E3 | 665 MeV
Parameter | 
φ11 | 0o
φ13 | 1.5o
φ2 | -8o
φ3 | -4.5o
On-crest phases

## Slide 3
On-crest
ks=0.9256
kE =1.1570
- an additional calibration of the measurement

## Slide 4
C=2.2
C1 =1.9
C2 =1.1

## Slide 5
C=3.2
C1 =2.6
C2 =1.2

## Slide 6
C=3.2=2.6*1.2
LOLA resolution increase. New Calibration.
ks=0.9256
kE =1.1570
- an additional calibration of the measurement

## Slide 7
C=3.2=2.6*1.2
New additional calibration.
ks=0.9256
kE =1.1570
ks=0.83
kE =1.71

## Slide 8
C=4.5=3.2*1.4

## Slide 9
C=4.5=3.2*1.4

## Slide 10
C=5.4=3.7*1.5

## Slide 11
Without CSRtrack
With CSRtrack
C=5.4=3.7*1.5

## Slide 12
Without CSRtrack
With CSRtrack
C=7.6=4.44*1.71

## Slide 13
Current profile?
I [A]
s [m]
s [mm]
I [A]
shot1
shot1
measurements
simulations
at LOLA
start

## Slide 14
s [mm]
I [A]
s [mm]
I [A]
simulations
at LOLA
start
simul.
meas.
at LOLA

## Slide 15
C=7.6=4.44*1.71
smooth current
new current

## Slide 16
V13=+0.9 MV
fi11=+0.3 deg
RF parameters?

## Slide 17
fi11=+0.3 deg
fi11=0 deg
V13=+0.9MV
RF parameters?
On-crest simulations
vs the measurement.

## Slide 18
V13=+1.1 MV
fi11=-0.2 deg
C=9.4=4.9*1.9

## Slide 19
C=32=7.5*4.3
V13=+1.5 MV
fi11=-0.2 deg